## Single Tower Dryer
Single Tower CNG Dryer Data
Item # | Item Description: | Base Specification Compliant
1 | Manufacturer:
2 | Model:
3 | Design Pressure (psig):
4 | Flow Capacity in SCFM @ 100 psig:
5 | Maximum Inlet Gas Pressure (psig)
6 | Vessel Height:
7 | Vessel Diameter:
8 | Pounds of Desiccant:
9 | Type of Desiccant:
10 | Manufacturer of Desiccant:
11 | Outlet Dewpoint at System Pressure: (F)
12 | MMSCF between Regenerations based on specified pounds of H2O/MMSCF:
13 | Regeneration Heating Time at 0 F Ambient Temperature:
14 | Regeneration Cooling Time at 100F Ambient Temperature:
15 | Electrical Classification: (Class and Division)
16 | Heater Size: (kW)
17 | Amp Draw During Regeneration:
18 | Make and Model of Control PLC:
19 | Communication with MCP PLC by Ethernet or by Analog and Discrete I/O:
20 | System Pressure Drop: (psi)
21 | Air Pressure Required: (psig)
22 | Air Flow Required: (cfm)
23 | Process Inlet and Outlet Pipe Size and Type: (inches/ANSI XXX Flange)
24 | Length x Width x Height of Dryer Assembly: (inches)
25 | Weight of Assembly: (pounds)
See Next Sheet for Additional Data Requirements

## CNG Compressor
CNG Compressor Data
Item # | Item Description: | Contractor to Complete Data:
| Compressor: | Attach compressor run simulation at maximum ambient temperature and minimum, maximum and typical inlet pressure conditions. This run must indicate predicted operating pressures, heat rejection and temperatures, rod loads and horsepower at these operating conditions.
Base Specification Equipment
1 | Compressor Packager:
2 | Compressor Block Manufacturer:
3 | Compressor Block Model:
CNG Compressor Specifications:
4 | Rotating Speed: (rpm)
5 | Piston Stroke: (inches)
6 | Piston Speed: (Feet/minute)
7 | Allowable Suction Range: (Minimum and Maximum Pressure in psig)
8 | Flow Capacity in SCFM and Hp required @ minimum station inlet pressure:
9 | Flow Capacity in SCFM and Hp required @ typcial station inlet pressure:
10 | Flow Capacity in SCFM and Hp required @ maximum station inlet pressure:
11 | Horsepower and Speed of Main Motor: (HP/rpm)
12 | Main Motor-Belt Drive or Direct Coupled:
13 | Maximum Discharge Pressure: (psig)
14 | Compression Ratio and Maximum Discharge Gas Temperature -1st Stage: (Ratio/Degrees F)
15 | Compression Ratio and Maximum Discharge Gas Temperature -2nd Stage: (Ratio/Degrees F)
16 | Compression Ratio and Maximum Discharge Gas Temperature -3rd Stage: (Ratio/Degrees F)
17 | Compression Ratio and Maximum Discharge Gas Temperature -4th Stage: (Ratio/Degrees F)
18 | Manufacturer Rod Load Rating: (pounds Compression/pounds Tension)
19 | Maximum Rod Loads-1st Stage: (pounds Compression/pounds Tension)
20 | Maximum Rod Loads-2nd Stage: (pounds Compression/pounds Tension)
21 | Maximum Rod Loads-3rd Stage: (pounds Compression/pounds Tension)
22 | Maximum Rod Loads-4th Stage: (pounds Compression/pounds Tension)
23 | Compressor Ring Material(s)--1st Stage:
24 | Compressor Ring Material(s)--2nd Stage:
25 | Compressor Ring Material(s)--3rd Stage:
26 | Compressor Ring Material(s)--4th Stage:
27 | Expected Ring Life in Intermittent CNG Service: (Hours)
28
Cooling System
40 | Air Cooled: (Y/N)
41 | Number of Cooling Fans:
42 | Diameter/Hp of Cooling Fan: (inches/Hp)
43 | Cooling Fan Air Flow and Maximum Static Pressure: (cfm/inches wc)
Compressor Lubrication
50 | Recommended Crankcase Oil
51 | 'Spin Off' Oil filter-?
52
53 | Points of pressurized lubrication:
54 | Amount of oil in gas stream downstream of the final compresoor coaling filter: (pounds per MMSCF)
55 | Amount of oil recaptured as a percentage of oil injected or added to the compressor: (percent)
Package Information
60 | Suction and/or Discharge Pulsation Vessels on all stages? (yes/no—which stages if no)
61 | Size of Blowdown Receiver: (gallons)
62 | Design Pressure of Blowdown Receiver: (psig)
63 | Estimated Pressure in Blowdown Receiver after Shutdown from Operation at Maximum Suction and Discharge Pressures: (psig)
64 | Enclosure Heater Size and Type: (kW/Forced Air)
65 | Maximum Noise Level (at loudest point) at 15 feet from the compressor: (dbA)
66 | Length x Width x Height of Compressor Assembly: (inches)—Individual Compressor Package
67 | Length x Width x Height of Compressor Assembly: (inches)—Integrated package with two compressors, control panels and CNG dryer
68 | Weight of Assembly: (pounds)—Individual Compressor Package.
69 | Weight of Assembly: (pounds)—Integrated package with 2 compressors, control panels and CNG dryer.
70 | Make and Model of UCP PLC:--specification compliant
71
73
See Next Sheet for Additional Data Requirements

## ASME Storage
Buffer Storage Data
Item # | Item Description: | Contractor to Complete Data:
1 | Manufacturer:
2 | Cylinders or Spheres:
3 | Design Pressure: (psig)
4 | Number of Vessels per Assembly:
5 | Outside Diameter: (inches)
6 | Vessel Length (cylinders only): (Feet-inches)
7 | Water Capacity/Vessel: (Cubic Feet)
8 | Total Capacity in SCF of CNG at 4500 psig:
9 | Year of Manufacture:
10 | Length of Each Assembly:
11 | Width of Each Assembly:
See Next Sheet for Additional Data Requirements

## Valve Data
Station Valve Data
Item # | Item Description: | Contractor to Complete Data:
| Size/Application: | Valve Brand: | Valve Model | Pressure Rating (psig) | Connection Size and Type (inches/NPT or ANSI ??? Flanged)
1 | ½” and lower ball valve for high pressure:
2 | Light Duty Dispenser Flow Control Valves:
3 | ¾” ball valve for -high pressure
4 | 1” ball valve for high pressure
5 | >1” Ball Valve for inlet and interstage pressures
6 | Compressor recovery system recycle pressure controller:
7 | Filter and Vessel Multi-turn Drain Valves-high pressure
8 | Storage SRVs
9 | Compressor 1st stage Discharge SRV
10 | Compressor 2nd stage Discharge SRV
11 | Compressor 3rd stage Discharge SRV
12 | Compressor 4th stage Discharge SRV
13 | Compressor Recovery Tank SRV
14 | Dispenser SRV
15 | Other:
16
17
18
19
See Next Sheet for Additional Data Requirements

## Filter Data
Station Filter Data
Item # | Item Description: | Contractor to Complete Data:
| Filter: | Brand: | Model and Type: (Model #/Coaclecing or Particulate or Mesh Pad) | Pressure Rating: (psig) | Flow Rating: (scfm @ XX psig) | Filter Diameter and Height: (inches) | Connection Size and Type: (inches/NPT or ANSI ??? Flanged)
1 | Gas Dryer Inlet:
2 | Gas Dryer Outlet:
3 | Compressor Suction:
4 | Compressor 1st Stage:
5 | Compressor 2nd Stage:
6 | Compressor 3rd Stage:
7 | Compressor 4th Stage:
8 | Compressor Final Coalescing System-1st Filter:
9 | Compressor Final Coalescing System-2nd Filter:
10 | Compressor Recovery System:
11 | Dispenser Inlet Coalescing System-1/2" dispenser
12 | Dispenser Inlet Coalescing System-3/4" dispenser
13 | Air System Coalescer:
14 | Other:
15
16
17
18
See Next Sheet for Additional Data Requirements