## AC Mitigation
ITEM NO. | TITLE | QTY | DESCRIPTION | Brand | Cost Each | Total Cost | Delivery Days
1 | GROUND ELECTRODE | 1900 | MATCOR MITIGATOR, 1 .5" DIAMETER, 1.1 LBS/FT |  | 0 | 0
2 | SSD DECOUPLER | 8 | DEI MODEL # SSD-2/2-2.0-100-R STANDARD, STANDARD TERMINAL ARRANGEMENT, AC FAULT CURRENT RATING 2.0 kA (50/60 HZ) BLOCKING VOLTAGE -2.0V/+2V, LIGHTNING CURRENT RATING 100 kA. MAY BE MOUNTED IN 42" FIBER GLASS PEDESTAL. |  |  | 0
3 | DECOUPLER LEAD (SEE NOTE 1) | 24 | # 6 AWG HMWPE CABLE LEADS WITH COMPRESSION TERMINALS. |  | 0 | 0
4 | FIBERGLASS PEDESTAL | 8 | DEI, 42" FIBERGLASS FREE STANDING PEDESTAL, 3/16" FIBERGLASS THICKNESS, 14 MIL THICK UV STABILI ZED GELCOAT, OR APPROVED EQUAL. |  | 0 | 0
5 | COUPON TEST STATION | 0 | COTT ZAPGARD TEST STATION AND AC CORROSION COUPON W/TWIN THHN WIRES (MCMILLER COU075 FAMILY) OR EQUAL. (Qty. TBD) |  | 0 | 0
6 | GRADIENT CONTROL MAT | 15 | DEI MODEL GMC 4-8 (4'X8'), 3"X3" GRID SQU ARES, .135 DIA STEEL WIRE (OR OWNER APPROVED EQUAL). |  | 0 | 0
[5 empty] | Grand Total | 0
| Notes: |  | 1. THREE DECOUPLER LEADS PER SSD FOR SINGLE MITIGATION WIRE INSTALLATIONS.

## CP
ITEM NO. | QTY | DESCRIPTION | Brand | Cost Each | Total Cost | Delivery Days
1 | 5 | LIDA PACK CANISTER MIXED METAL OXIDE ANODES. MODEL# LP 3 x 80 H. |  |  | 0
2 | 1 | 25V - 1OA RECTIFIER - UNIVERSAL RECTIFIERS PART NO: ASAl -25-10-MCR |  |  | 0
3 | 600 | #4 AWG HMWPE CABLE (Feet) |  |  | 0
4 | 8 | UV RESISTANT 2-INCH PVC CONDUIT (Feet) |  |  | 0
5 | 6 | THERMITE WELD MOLD, CADWELD FLAT MOLD FOR #4 WIRE |  |  | 0
6 | 6 | THERMITE WELD MOLD, CADWELD 15g CHARGE |  |  | 0
7 | 6 | THERMITE WELD COATING REPAIR, ROYSTON HANDY CAP IP |  |  | 0
8 | 5 | 3/4" FLEXIBLE LIQUIDTIGHT CONDUIT FOR RECTIFIER CABLES (Feet) |  |  | 0
9 | 300 | CABLE MARKING TAPE (Feet) |  |  | 0
10 | 5 | SCOTCHCAST WYE RESIN SPLICE KIT MODEL: 90-B1 |  |  | 0
11 | 100 | #12 AWG THIN INSULATED SOLID COPPER WIRE (BLACK) (Feet) |  |  | 0
12 | 3 | STANDARD TEST STATION COTT MODEL: COTI-BFTS |  |  | 0
13 | 2 | 17 LB MAGNESIUM ANODE |  |  | 0
14 | 0 | #3 AWG TWHN WIRE (Feet TBD) |  |  | 0
15 | 1 | 3/4" X 6' GROUND ROD |  |  | 0
|  |  |  | Grand Total | 0