## Section 1 Overhead Construction
Part 1a - Pole Units - Directed Embedded |  |  | Labor
Unit NO. | Embedded Depth (FT) | NO. of Units | Unit Labor $ | Extended Labor $
35 Foot Class 5 Pole | 5.5 | 13
40 Foot Class 4 Pole | 6 | 1
45 Foot Class 4 Pole | 6.5 | 4
50 Foot Class 3 Pole | 7 | 6
55 Foot Class 3 Pole | 7.5 | 18
60 Foot Class 2 Pole | 8 | 10
65 Foot Class 2 Pole | 8.5 | 27
70 Foot Steel Pole | 9 | 3
Install Pole Tag |  | 82
Pole/Guy Bollards |  | 24
Part 1b - Conductor Units |  |  | Labor
Unit NO. |  | NO. of Units (FT) | Unit Labor $ | Extended Labor $
#6 Aluminum Triplex (Poly) |  | 752
#2 Aluminum Triplex (Clam) |  | 92
1/0 Aluminum Triplex (Murex) |  | 108
2/0 Aluminum Triplex (Rucina) |  | 1022
4/0 Aluminum Triplex (Zuzara) |  | 683
1/0 Aluminum Clad Steel Reinforced (Raven) (Per Phase) |  | 20295
336MCM Aluminum Clad Steel Reinforced (Merlin) (Per Phase) |  | 35817
795MCM Stranded Aluminum (Arbutus) (Per Phase) |  | 18445
Part 1c - Pole Framing Units |  |  | Labor
Drawing NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Two Phase Single Deadend (Tap), Suspension (B5) |  | 4
Three Phase Tangent, MIF Construction Single Pin (C1) |  | 14
Three Phase, Tangent, MIF Vertical Single Pin (C1.V1) |  | 18
Three Phase, Tangent, MIF Z Construction Single Pin (C1.Z) |  | 29
Three Phase Small Angle, MIF Construction Double Pin (C2) |  | 7
Three Phase Large Angle, Double Deadend Suspension (C4) |  | 18
Three Phase Single Deadend, Crossarm Suspension (C5) |  | 10
Three Phase Single Deadend (Tap), Vertical Suspension (C5.V) |  | 3
Three Phase Tangent Double Deadend, Cross Suspension (C6) |  | 5
Three Phase Tangent, Double Deadend Suspension (C6.V) |  | 5
Part 1d - Guy Construction Units |  |  | Labor
Drawing NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
DG-12_14 |  | 216
SWG-12_14 |  | 7
DG-SG |  | 28
Part 1e - Anchor Construction Units |  |  | Labor
Drawing NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
DA |  | 86
TA-2 |  | 39
Part 1f - Transformer Units |  |  | Labor
Unit NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Single Phase Transformer, 10 kVA CSP (120/240) |  | 3
Single Phase Transformer, 15 kVA CSP (120/240) |  | 9
Single Phase Transformer, 25 kVA CSP (120/240) |  | 7
Single Phase Transformer, 50 kVA CSP (120/240) |  | 4
Part 1g - Protection & Sectionalizing Units |  |  | Labor
Unit NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Surge Arrestor - Single Phase |  | 3
Surge Arrestor - Two Phase |  | 1
Surge Arrestor - Three Phase |  | 10
Fused Cutout - Single Phase |  | 1
Fused Cutout - Three Phase |  | 1
900A Line Drop Switches - Three Phase |  | 1
900A Horizontal Gang Switch- Three Phase |  | 1
600A Vertical Gang Switch-Three Phase |  | 5
Vacuum Circuit Recloser w/ Bypass Cutout - Three Phase |  | 1
Part 1h - Riser Pole (OH to UG) |  |  | Labor
Unit NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Single Phase 200A w/ Fused Cutout |  | 3
Two Phase 200A w/ Fused Cutout |  | 1
Three Phase 200A w/ Fused Cutout |  | 8
Three Phase 600A w/ Line Drops |  | 1
Part 1i - Voltage Alteration Units |  |  | Labor
Unit NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Capacitor Bank (Three Phase) |  | 1
Part 1j - Secondary Service Units |  |  | Labor
Unit NO. |  | NO. of Units | Unit Labor $ | Extended Labor $
Service Assembly - Stationary Clevis (Pole Mounted) |  | 36
Connect Service On Pole |  | 45
Service Assembly - Secondary Riser Up Pole |  | 19
Light Fixture Installation |  | 11
Note on E3: Kyle Brown: Labor Unit should include: Pole Ground Wire Ground Rod
Note on E31: Kyle Brown: Pole Framing Labor Cost Includes: 15kV+Neutral+Guying+Anchoring
Note on E46: Kyle Brown: Pole Framing Labor Cost Includes: 15kV+Neutral+Guying+Anchoring
Note on E54: Kyle Brown: Pole Framing Labor Cost Includes: 15kV+Neutral+Guying+Anchoring
Note on E84: Kyle Brown: Labor $ should include disconnect/switch
Note on B101: Kyle Brown: Per Conductor

## Section 2 Underground Construct
Part 2a - Excavation Units |  | Labor
Unit NO. | NO. of Units (FT) | Unit Labor $ | Extended Labor $
Machine Trench (minimum 40" cover) | 6
Backhoe (minimum 24" cover) | 290
Backhoe (minimum 40" cover) | 225
Reseed Trench | 11126
Part 2b - Boring Units |  | Labor
Unit NO. | NO. of Units (FT) | Unit Labor $ | Extended Labor $
2" Directional Boring (1 conduit) | 1808
2" Directional Boring (2 conduits) | 426
4" Directional Boring (1 conduit) | 688
Part 2c - Conduit Installation (In Trench) Units |  | Labor
Unit NO. | NO. of Units | Unit Labor $ | Extended Labor $
2" Conduit | 340
3" Conduit | 50
4" Conduit | 225
2" PVC 90* Elbow | 47
2" Galvanized 90* Elbow | 5
3" PVC 90* Elbow | 13
3" Galvanized 90* Elbow | 2
3" Galvanized 90* Elbow (36" RAD.) | 4
4" Galvanized 90* Elbow | 21
Part 2d - UG Primary In Conduit Installation Units |  | Labor
Unit NO. | NO. of Units (FT) | Unit Labor $ | Extended Labor $
1/0 AWG Aluminum( 1 Phase) | 5481
750 MCM Aluminum (1 Phase) | 600
Part 2e - UG Secondary In Conduit Installation Units |  | Labor
Unit NO. | NO. of Units (FT) | Unit Labor $ | Extended Labor $
#6 Aluminum Triplex | 487
2/0 Aluminum Triplex | 1570
4/0 Aluminum Triplex | 452
Part 2f - Pandmounted Transformers & Equipment |  | Labor
Unit NO. | NO. of Units | Unit Labor $ | Extended Labor $
Two Phase Sectionalizing Cabinet | 1
Three Phase Sectionalizing Cabinet | 4
200A Load Break Elbow | 33
10 kV Elbow Arrestor | 1
200A Terminator | 31
600A Load Break Elbow | 12
600A Terminator | 8
Part 2g - Secondary Pedestal/Service |  | Labor
Unit NO. | NO. of Units | Unit Labor $ | Extended Labor $
9x14 Pedestal | 2
9x14 Pedestal Flat Lid | 2
18x24 Pedestal | 13
18x24 Pedestal Flat Lid | 15
4 Point Secondary Buss Kit | 30
Connect Service in Pedestal or Transformer | 28
Connect Service in Meter Base | 12
Part 2h - Streetlights Poles |  | Labor
Unit NO. | NO. of Units | Unit Labor $ | Extended Labor $
24' Black Aluminum Streetlight Pole | 1
Note on B52: Kyle Brown: Use with Padmount Tx
Note on B66: Kyle Brown: Per Conductor
Note on B67: Kyle Brown: Per Conductor